## Sheet1
City of Aspen Area Weighted U Value Calculator: 2021 IBC
V3 modified 5/30/23
Use this to determine if an unvented roof assembly will have condensation problems. Enter the R value of each component of your assembly. You may use rigid insulation above the roof sheathing, impermeable insulation below the roof sheathing, or a combination. Enter the R values in the white boxes. Print the first page only.
THERMAL RESISTANCE OF ASSEMBLY |  |  |  | PROPOSED ASSEMBLY @ 70O INTERIOR TEMPERATURE
|  |  |  | MDT | DP @ | DP @ | DP @ | DP @ | DP @ | TI
LAYER | R-value |  |  |  | 45 degrees per 2021 IBC 1202.3 item 5.1.4
Outside air layer | 0.17
Roofing |  |  | Month | FO
Water-proof membrane | 0.21 |  | January | 19.8
(optional) roofing nailer sheathing |  |  | February | 23.1
(optional) Outside rigid insulation | 30 |  | March | 29
Roof Sheathing | 0.77 |  | April | 38.9
(optional) Inside vapor impermeable insulation | 0 |  | May | 48
|  |  | June | 56.1
Condensing surface is above this line |  |  | July | 62.2
|  |  | August | 60.4
(optional) Inside vapor permeable insulation | 30 |  | September | 53.6
Ceiling Finish (gyp bd) | 0.56 |  | October | 44.1
Inside air layer | 0.61 |  | November | 30.7
Mean Daily Temperature (December, January, February) | 21.6667 |  | December | 22.1
Total R value of assembly | 62.32
|  |  | MDT | Mean Daily Temperature
Sum of insulation R values must meet energy code | 60 |  | DP | Dew Point
(or match Rescheck/Comcheck) |  |  | RH | Relative Humidity
|  |  | TI | Temperature of Sheathing/Insulation Interface = 70 - [(R-value)/(R-total)*(∆T)]
Temperature of condensing surface | 44.8259 |  | ∆T | 70 - MDT
(must be greater than 45 degrees)
(per 2021 IBC 1202.3 item 5.1.4)
Material | R/ | R/ |  | The City of Aspen has created and provided this software solely as a reference. Users should obtain assistance from a qualified professional to verify accuracy and applicability before proceeding. The City of Aspen makes no express or implied warranty with respect to this software or any information contained herein. To the full extent permissible by law, the City of Aspen disclaims all responsibility for any damages or losses (including, without limitation, structural damage, building defects, financial loss, damages for loss in business projects, loss of profits or other consequential losses) arising in contract, tort or otherwise from the use of or inability to use this software, or from any action or decision taken as a result of using this software.
| Inch | Thickness
| hr·ft2·°F/Btu | hr·ft2·°F/Btu
Insulation Materials
Fiberglass Batts | 3.14-4.30
3 1/2" Fiberglass Batt |  | 11
3 5/8" Fiberglass Batt |  | 13
3 1/2" Fiberglass Batt (high density) |  | 15
6 1/2" Fiberglass Batt |  | 19
5 1/4" Fiberglass Batt (high density) |  | 21
8" Fiberglass Batt |  | 25
8" Fiberglass Batt (high density) |  | 30
9 1/2" Fiberglass Batt |  | 30
12" Fiberglass Batt |  | 38
Fiberglass Blown (attic) | 2.20-4.30
Fiberglass Blown (wall) | 3.70-4.30
Rock Wool Batt | 3.14-4.00
Rock Wool Blown (attic) | 3.10-4.00
Rock Wool Blown (wall) | 3.10-4.00
Cellulose Blown (attic) | 3.60-3.701
Cellulose Blown (wall) | 3.80-3.901
Vermiculite | 2.13
Autoclaved Aerated Concrete | 1.05
Urea Terpolymer Foam | 4.48
Rigid Fiberglass (> 4lb/ft3) | 4
Expanded Polystyrene (beadboard) | 4
Extruded Polystyrene | 5
Polyurethane (foamed-in-place) | 6.25
Polyisocyanurate (foil-faced) | 7.2
Construction Materials
Poured Concrete | 0.08
Soft Wood Lumber | 1.25
2" nominal (1 1/2") |  | 1.88
2x4 (3 1/2") |  | 4.38
2x6 (5 1/2") |  | 6.88
Cedar Logs and Lumber | 1.33
Sheathing Materials
Plywood | 1.25
1/4" |  | 0.31
3/8" |  | 0.47
1/2" |  | 0.63
5/8" |  | 0.77
3/4" |  | 0.94
Fiberboard | 2.64
1/2" |  | 1.32
25/32" |  | 2.06
Fiberglass (3/4") |  | 3
(1") |  | 4
(1 1/2") |  | 6
Extruded Polystyrene (3/4") |  | 3.75
(1") |  | 5
(1 1/2") |  | 7.5
Foil-faced Polyisocyanurate |  | 5.4
(3/4")
(1") |  | 7.2
(1 1/2") |  | 10.8
Interior Finish Materials
Gypsum Board (drywall 1/2") |  | 0.45
(5/8") |  | 0.56
Paneling (3/8") |  | 0.47
Roofing Materials
Asphalt Shingles |  | 0.44
Wood Shingles |  | 0.97
Air Films
Interior Ceiling |  | 0.61
Exterior |  | 0.17
Air Spaces
1/2" to 4" approximately |  | 1